## Nuclear
4273.5043
Overnight - CSIR/Rosatom
| Parameter | Lower estimate (Best Case) | Higher Estimate (Worst Case) | Mid Estimate (Mid Case) | Unit | Source | Comment
| Discount rate (real) | 8% | 8% | 8% |  | http://www.doe-irp.co.za/content/IRP2010_updatea.pdf | page 68
9360 | Size of the VVER-1200 | 1170 | 1170 | 1170 | MW (gross) | http://www.iaea.org/NuclearPower/Downloadable/aris/2013/36.VVER-1200%28V-491%29.pdf | gross capacity before subtraction of houseload
8656 | Size of the VVER-1200 | 1082 | 1082 | 1082 | MW (net) | IAEA source above, page 28 | net capacity (relevant figure for IRP purposes)
| Rosatom quoted | 40 | 50 | 45 |  | http://en.itar-tass.com/economy/750722
| Owner's cost | 10% | 20% | 15% |  |  | lowest price point of the announced band, with 10% on top to make LCOE comparable to an IPP tariff, i.e. to cater for all owner's cost; overnight without interest during construction
| Total overnight cost | 44 | 60 | 51.75 | b$
| Overnight cost per unit | 5.5 | 7.5 | 6.4687 | b$/unit |  | overnight without interest during construction
| Overnight cost per capacity | 5083.1793 | 6931.6081 | 5978.512 | $/kW |  | overnight without interest during construction
| Exchange rate | 11.44 | 11.44 | 11.44 | 2015 R/$ | http://www.oanda.com/currency/historical-rates/ | average for Jan 2014 - September2015
| Total overnight cost | 503.36 | 686.4 | 592.02 | 2015 bR |  | overnight without interest during construction
| Overnight cost per capacity | 58151.5712 | 79297.597 | 68394.1774 | 2015 R/kW |  | overnight without interest during construction
| Overnight cost per capacity | 44731.9778 | 60998.1516 | 52610.9057 | 2010 R/kW |  | overnight without interest during construction
| In model - previous runs | 47928.0811 | 65356.4742 | 56369.959
|  | 49600.7645 | 67637.4062 | 58337.2628 | 2012 R/kW
[6 empty] | CPI 2010-2015 |  | 1.3
[6 empty] | CPI 2010-2012 |  | 1.1088
Overnight - IRP update | [5 empty] | http://www.doe-irp.co.za/content/IRP2010_updatea.pdf
| Parameter | Lower estimate (Best Case) | Higher Estimate (Worst Case) | Mid Estimate (Mid Case) | Unit
| Discount rate (real) | 8% | 8% | 8%
| IRP update quoted | 44010 | 56000 | 50005
| Owner's cost | 10% | 20% | 15%
| Total Overnight cost | 48411 | 67200 | 57505.75 | 2012 R/kW
| Overnight cost per capacity | 43659 | 60603.681 | 51861.0138 | 2010 R/kW
|  | 56756.7 | 78784.7853 | 67419.3179 | 2015 R/kW
|  | -2.399% | -0.6467% | -1.425% | [5 empty] | Side calculations to convert overnight cost into CAPEX
| 9360 | 8656 |  |  |  |  | 11.4452
| 6758.3179 |  |  |  |  | Historical exchange rate |  |  | http://www.oanda.com/currency/historical-rates/
| 8.8779 |  |  |  |  | Average | 12.2574
[6 empty] | 2015-09-01 | 13.617
[6 empty] | 2015-08-01 | 12.859
[6 empty] | 2015-07-01 | 12.4215
|  | 5208.3333 |  |  |  | 2015-06-01 | 12.2952
[6 empty] | 2015-05-01 | 11.9454
[6 empty] | 2015-04-01 | 11.9947
[6 empty] | 2015-03-01 | 12.0507
[6 empty] | 2015-02-01 | 11.5825
[6 empty] | 2015-01-01 | 11.5505
10.8361
[6 empty] | 2014-12-01 | 11.4764
[6 empty] | 2014-11-01 | 11.0763
[6 empty] | 2014-10-01 | 11.0862
|  | Overnight |  | 5000 | 7000 | 2014-09-01 | 10.9516
|  | decomissioning costs | $/kW | 200 | 1000 | 2014-08-01 | 10.6569
|  | discount rate | % | 3% | 3% | 2014-07-01 | 10.651
|  | life | yr | 40 | 40 | 2014-06-01 | 10.6553
|  | discount factor |  | 0.30656 | 0.30656 | 2014-05-01 | 10.3985
|  | Cost |  | 61.3114 | 306.5568 | 2014-04-01 | 10.54
|  | Share of cost |  | 1.226% | 4.379% | 2014-03-01 | 10.7427
[6 empty] | 2014-02-01 | 10.9812
[6 empty] | 2014-01-01 | 10.8171

## CPI
| Downloaded from StatsSA: CPI headline index Dec 2012 = 100) in 2013, updated 2014 | [14 empty] | Convert From |  | 2010 | [9 empty] | 2007-2015: | 1.613
| http://beta2.statssa.gov.za/publications/P0141/CPIHistory.pdf | [14 empty] | Convert To |  | 2012 | [9 empty] | 2010-2015: | 1.3
[14 empty] | 1.1019 | 1.1 | 1.1038 | 1.1071 | 1.1045 | 1.108 | 1.1038 | 1.1061 | 1.115 | 1.1192 | 1.1213 | 1.1211 | 1.1088 |  | 2012-2015: | 1.17
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average |  | 2010-2012 | 1.1088
1960 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
1961 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
1962 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
1963 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1,5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
1964 | 1,5 | 1,5 | 1,5 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1.5 | 1.5 | 1.5 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
1965 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1,6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
1966 | 1,6 | 1,6 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1.6 | 1.6 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7
1967 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7
1968 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,7 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
1969 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,8 | 1,9 | 1,9 | 1,9 | 1,8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.9 | 1.9 | 1.9 | 1.8
1970 | 1,9 | 1,9 | 1,9 | 1,9 | 1,9 | 1,9 | 1,9 | 2,0 | 2,0 | 2,0 | 2,0 | 2,0 | 1,9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 2 | 2 | 2 | 2 | 2 | 1.9
1971 | 2,0 | 2,0 | 2,0 | 2,0 | 2,0 | 2,0 | 2,0 | 2,1 | 2,1 | 2,1 | 2,1 | 2,1 | 2,0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2
1972 | 2,1 | 2,1 | 2,1 | 2,1 | 2,1 | 2,1 | 2,2 | 2,2 | 2,2 | 2,3 | 2,3 | 2,3 | 2,2 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.2 | 2.2 | 2.2 | 2.3 | 2.3 | 2.3 | 2.2
1973 | 2,3 | 2,3 | 2,3 | 2,4 | 2,4 | 2,4 | 2,4 | 2,4 | 2,4 | 2,5 | 2,5 | 2,5 | 2,4 | 2.3 | 2.3 | 2.3 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.5 | 2.5 | 2.5 | 2.4
1974 | 2,5 | 2,5 | 2,6 | 2,6 | 2,6 | 2,7 | 2,7 | 2,7 | 2,8 | 2,8 | 2,8 | 2,8 | 2,7 | 2.5 | 2.5 | 2.6 | 2.6 | 2.6 | 2.7 | 2.7 | 2.7 | 2.8 | 2.8 | 2.8 | 2.8 | 2.7
1975 | 2,9 | 2,9 | 2,9 | 3,0 | 3,0 | 3,0 | 3,1 | 3,1 | 3,1 | 3,1 | 3,2 | 3,2 | 3,0 | 2.9 | 2.9 | 2.9 | 3 | 3 | 3 | 3.1 | 3.1 | 3.1 | 3.1 | 3.2 | 3.2 | 3
1976 | 3,2 | 3,2 | 3,3 | 3,3 | 3,3 | 3,4 | 3,4 | 3,5 | 3,5 | 3,5 | 3,5 | 3,5 | 3,4 | 3.2 | 3.2 | 3.3 | 3.3 | 3.3 | 3.4 | 3.4 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.4
1977 | 3,6 | 3,6 | 3,6 | 3,7 | 3,7 | 3,7 | 3,7 | 3,8 | 3,8 | 3,8 | 3,8 | 3,9 | 3,7 | 3.6 | 3.6 | 3.6 | 3.7 | 3.7 | 3.7 | 3.7 | 3.8 | 3.8 | 3.8 | 3.8 | 3.9 | 3.7
1978 | 3,9 | 3,9 | 3,9 | 4,0 | 4,0 | 4,0 | 4,2 | 4,2 | 4,3 | 4,3 | 4,3 | 4,3 | 4,1 | 3.9 | 3.9 | 3.9 | 4 | 4 | 4 | 4.2 | 4.2 | 4.3 | 4.3 | 4.3 | 4.3 | 4.1
1979 | 4,4 | 4,4 | 4,5 | 4,5 | 4,5 | 4,6 | 4,8 | 4,8 | 4,9 | 4,9 | 4,9 | 5,0 | 4,7 | 4.4 | 4.4 | 4.5 | 4.5 | 4.5 | 4.6 | 4.8 | 4.8 | 4.9 | 4.9 | 4.9 | 5 | 4.7
1980 | 5,0 | 5,1 | 5,1 | 5,1 | 5,2 | 5,3 | 5,4 | 5,4 | 5,5 | 5,7 | 5,7 | 5,8 | 5,4 | 5 | 5.1 | 5.1 | 5.1 | 5.2 | 5.3 | 5.4 | 5.4 | 5.5 | 5.7 | 5.7 | 5.8 | 5.4
1981 | 5,8 | 5,9 | 5,9 | 5,9 | 6,0 | 6,1 | 6,2 | 6,3 | 6,5 | 6,5 | 6,6 | 6,6 | 6,2 | 5.8 | 5.9 | 5.9 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.5 | 6.5 | 6.6 | 6.6 | 6.2
1982 | 6,6 | 6,7 | 6,9 | 6,9 | 7,0 | 7,0 | 7,1 | 7,2 | 7,3 | 7,4 | 7,5 | 7,5 | 7,1 | 6.6 | 6.7 | 6.9 | 6.9 | 7 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.5 | 7.1
1983 | 7,5 | 7,7 | 7,7 | 7,8 | 7,9 | 7,9 | 8,0 | 8,1 | 8,1 | 8,2 | 8,3 | 8,3 | 8,0 | 7.5 | 7.7 | 7.7 | 7.8 | 7.9 | 7.9 | 8 | 8.1 | 8.1 | 8.2 | 8.3 | 8.3 | 8
1984 | 8,4 | 8,4 | 8,5 | 8,7 | 8,8 | 8,8 | 8,9 | 9,0 | 9,1 | 9,2 | 9,3 | 9,4 | 8,9 | 8.4 | 8.4 | 8.5 | 8.7 | 8.8 | 8.8 | 8.9 | 9 | 9.1 | 9.2 | 9.3 | 9.4 | 8.9
1985 | 9,5 | 9,8 | 9,8 | 10,1 | 10,2 | 10,3 | 10,3 | 10,5 | 10,6 | 10,7 | 10,9 | 11,1 | 10,3 | 9.5 | 9.8 | 9.8 | 10.1 | 10.2 | 10.3 | 10.3 | 10.5 | 10.6 | 10.7 | 10.9 | 11.1 | 10.3
1986 | 11,4 | 11,5 | 11,7 | 11,9 | 11,9 | 12,1 | 12,3 | 12,5 | 12,7 | 12,9 | 13,0 | 13,1 | 12,3 | 11.4 | 11.5 | 11.7 | 11.9 | 11.9 | 12.1 | 12.3 | 12.5 | 12.7 | 12.9 | 13 | 13.1 | 12.3
1987 | 13,3 | 13,5 | 13,7 | 13,9 | 14,0 | 14,1 | 14,2 | 14,4 | 14,7 | 14,8 | 15,0 | 15,1 | 14,2 | 13.3 | 13.5 | 13.7 | 13.9 | 14 | 14.1 | 14.2 | 14.4 | 14.7 | 14.8 | 15 | 15.1 | 14.2
1988 | 15,2 | 15,2 | 15,5 | 15,6 | 15,8 | 15,9 | 16,1 | 16,3 | 16,5 | 16,7 | 16,8 | 17,0 | 16,1 | 15.2 | 15.2 | 15.5 | 15.6 | 15.8 | 15.9 | 16.1 | 16.3 | 16.5 | 16.7 | 16.8 | 17 | 16.1
1989 | 17,2 | 17,4 | 17,7 | 17,9 | 18,2 | 18,3 | 18,5 | 18,8 | 18,9 | 19,1 | 19,3 | 19,6 | 18,4 | 17.2 | 17.4 | 17.7 | 17.9 | 18.2 | 18.3 | 18.5 | 18.8 | 18.9 | 19.1 | 19.3 | 19.6 | 18.4
1990 | 19,8 | 20,0 | 20,3 | 20,4 | 20,7 | 20,8 | 21,0 | 21,3 | 21,6 | 21,8 | 22,3 | 22,4 | 21,0 | 19.8 | 20 | 20.3 | 20.4 | 20.7 | 20.8 | 21 | 21.3 | 21.6 | 21.8 | 22.3 | 22.4 | 21 | 14.13%
1991 | 22,7 | 23,0 | 23,1 | 23,5 | 23,8 | 24,0 | 24,3 | 24,6 | 25,0 | 25,4 | 25,7 | 26,0 | 24,3 | 22.7 | 23 | 23.1 | 23.5 | 23.8 | 24 | 24.3 | 24.6 | 25 | 25.4 | 25.7 | 26 | 24.3 | 15.71%
1992 | 26,4 | 26,6 | 26,8 | 27,2 | 27,3 | 27,6 | 27,9 | 28,2 | 28,3 | 28,4 | 28,6 | 28,6 | 27,7 | 26.4 | 26.6 | 26.8 | 27.2 | 27.3 | 27.6 | 27.9 | 28.2 | 28.3 | 28.4 | 28.6 | 28.6 | 27.7 | 13.99%
1993 | 28,9 | 29,0 | 29,4 | 30,1 | 30,2 | 30,4 | 30,6 | 30,8 | 30,9 | 31,1 | 31,2 | 31,3 | 30,3 | 28.9 | 29 | 29.4 | 30.1 | 30.2 | 30.4 | 30.6 | 30.8 | 30.9 | 31.1 | 31.2 | 31.3 | 30.3 | 9.386%
1994 | 31,7 | 31,8 | 32,0 | 32,2 | 32,4 | 32,6 | 33,1 | 33,6 | 34,0 | 34,2 | 34,3 | 34,3 | 33,0 | 31.7 | 31.8 | 32 | 32.2 | 32.4 | 32.6 | 33.1 | 33.6 | 34 | 34.2 | 34.3 | 34.3 | 33 | 8.911%
1995 | 34,8 | 35,0 | 35,4 | 35,8 | 35,9 | 35,9 | 36,1 | 36,2 | 36,2 | 36,3 | 36,5 | 36,7 | 35,9 | 34.8 | 35 | 35.4 | 35.8 | 35.9 | 35.9 | 36.1 | 36.2 | 36.2 | 36.3 | 36.5 | 36.7 | 35.9 | 8.788%
1996 | 37,2 | 37,3 | 37,5 | 37,8 | 38,0 | 38,4 | 38,7 | 38,8 | 39,2 | 39,6 | 39,8 | 40,2 | 38,5 | 37.2 | 37.3 | 37.5 | 37.8 | 38 | 38.4 | 38.7 | 38.8 | 39.2 | 39.6 | 39.8 | 40.2 | 38.5 | 7.242%
1997 | 40,6 | 40,9 | 41,1 | 41,5 | 41,7 | 41,8 | 42,2 | 42,2 | 42,5 | 42,6 | 42,5 | 42,6 | 41,9 | 40.6 | 40.9 | 41.1 | 41.5 | 41.7 | 41.8 | 42.2 | 42.2 | 42.5 | 42.6 | 42.5 | 42.6 | 41.9 | 8.831%
1998 | 43,0 | 43,1 | 43,4 | 43,6 | 43,8 | 44,0 | 45,0 | 45,5 | 46,3 | 46,5 | 46,5 | 46,5 | 44,8 | 43 | 43.1 | 43.4 | 43.6 | 43.8 | 44 | 45 | 45.5 | 46.3 | 46.5 | 46.5 | 46.5 | 44.8 | 6.921%
1999 | 46,8 | 46,8 | 46,8 | 46,9 | 46,9 | 47,1 | 47,1 | 47,0 | 47,1 | 47,3 | 47,4 | 47,5 | 47,1 | 46.8 | 46.8 | 46.8 | 46.9 | 46.9 | 47.1 | 47.1 | 47 | 47.1 | 47.3 | 47.4 | 47.5 | 47.1 | 5.134%
2000 | 48,1 | 47,9 | 48,4 | 49,0 | 49,3 | 49,6 | 50,0 | 50,2 | 50,4 | 50,6 | 50,7 | 50,8 | 49,6 | 48.1 | 47.9 | 48.4 | 49 | 49.3 | 49.6 | 50 | 50.2 | 50.4 | 50.6 | 50.7 | 50.8 | 49.6 | 5.308%
2001 | 51,5 | 51,6 | 51,9 | 52,2 | 52,4 | 52,6 | 52,6 | 52,5 | 52,6 | 52,6 | 52,9 | 53,1 | 52,4 | 51.5 | 51.6 | 51.9 | 52.2 | 52.4 | 52.6 | 52.6 | 52.5 | 52.6 | 52.6 | 52.9 | 53.1 | 52.4 | 5.645%
2002 | 54,1 | 54,6 | 55,2 | 56,0 | 56,4 | 56,8 | 57,7 | 57,9 | 58,6 | 59,4 | 59,7 | 59,7 | 57,2 | 54.1 | 54.6 | 55.2 | 56 | 56.4 | 56.8 | 57.7 | 57.9 | 58.6 | 59.4 | 59.7 | 59.7 | 57.2 | 9.16%
2003 | 60,3 | 60,2 | 60,9 | 61,0 | 60,9 | 60,7 | 60,7 | 60,9 | 60,7 | 60,3 | 59,9 | 59,9 | 60,5 | 60.3 | 60.2 | 60.9 | 61 | 60.9 | 60.7 | 60.7 | 60.9 | 60.7 | 60.3 | 59.9 | 59.9 | 60.5 | 5.769%
2004 | 60,4 | 60,7 | 61,1 | 61,2 | 61,2 | 61,4 | 61,6 | 61,6 | 61,6 | 61,8 | 62,1 | 62,0 | 61,4 | 60.4 | 60.7 | 61.1 | 61.2 | 61.2 | 61.4 | 61.6 | 61.6 | 61.6 | 61.8 | 62.1 | 62 | 61.4 | 1.488%
2005 | 62,2 | 62,3 | 62,9 | 63,2 | 63,2 | 63,1 | 63,7 | 63,9 | 64,2 | 64,2 | 64,2 | 64,2 | 63,4 | 62.2 | 62.3 | 62.9 | 63.2 | 63.2 | 63.1 | 63.7 | 63.9 | 64.2 | 64.2 | 64.2 | 64.2 | 63.4 | 3.257%
2006 | 64,6 | 64,7 | 65,0 | 65,4 | 65,7 | 66,2 | 66,9 | 67,4 | 67,6 | 67,7 | 67,6 | 68,0 | 66,4 | 64.6 | 64.7 | 65 | 65.4 | 65.7 | 66.2 | 66.9 | 67.4 | 67.6 | 67.7 | 67.6 | 68 | 66.4 | 4.732%
2007 | 68,5 | 68,4 | 69,0 | 69,9 | 70,3 | 70,9 | 71,6 | 71,9 | 72,5 | 73,1 | 73,4 | 74,0 | 71,1 | 68.5 | 68.4 | 69 | 69.9 | 70.3 | 70.9 | 71.6 | 71.9 | 72.5 | 73.1 | 73.4 | 74 | 71.1 | 7.078%
2008 | 74,8 | 75,1 | 76,3 | 77,7 | 78,5 | 79,6 | 81,2 | 81,8 | 81,9 | 81,9 | 82,0 | 81,1 | 79,3 | 74.8 | 75.1 | 76.3 | 77.7 | 78.5 | 79.6 | 81.2 | 81.8 | 81.9 | 81.9 | 82 | 81.1 | 79.3 | 11.53%
2009 | 81,4 | 82,3 | 83,4 | 83,8 | 84,1 | 84,5 | 85,4 | 85,6 | 86,0 | 86,0 | 86,0 | 86,2 | 84,6 | 81.4 | 82.3 | 83.4 | 83.8 | 84.1 | 84.5 | 85.4 | 85.6 | 86 | 86 | 86 | 86.2 | 84.6 | 6.683%
2010 | 86,4 | 87,0 | 87,7 | 87,8 | 88,0 | 88,0 | 88,6 | 88,6 | 88,7 | 88,9 | 89,0 | 89,2 | 88,2 | 86.4 | 87 | 87.7 | 87.8 | 88 | 88 | 88.6 | 88.6 | 88.7 | 88.9 | 89 | 89.2 | 88.2 | 4.255%
2011 | 89,6 | 90,2 | 91,3 | 91,6 | 92,0 | 92,4 | 93,2 | 93,4 | 93,8 | 94,2 | 94,5 | 94,6 | 92,6 | 89.6 | 90.2 | 91.3 | 91.6 | 92 | 92.4 | 93.2 | 93.4 | 93.8 | 94.2 | 94.5 | 94.6 | 92.6 | 4.989%
2012 | 95,2 | 95,7 | 96,8 | 97,2 | 97,2 | 97,5 | 97,8 | 98,0 | 98,9 | 99,5 | 99,8 | 100,0 | 97,8 | 95.2 | 95.7 | 96.8 | 97.2 | 97.2 | 97.5 | 97.8 | 98 | 98.9 | 99.5 | 99.8 | 100 | 97.8 | 5.616%
2013 | 100,3 | 101,3 | 102,5 | 102,9 | 102,6 | 102,9 | 104,0 | 104,3 | 104,8 | 105,0 | 105,1 | 105,4 | 103,4 | 100.3 | 101.3 | 102.5 | 102.9 | 102.6 | 102.9 | 104 | 104.3 | 104.8 | 105 | 105.1 | 105.4 | 103.4 | 5.726%
2014 | 106,1 | 107,3 | 108,7 | 109,2 | 109,4 | 109,7 | 110,6 | 111,0 | 111,0 | 111,2 | 111,2 | 111,0 | 109,7 | 106.1 | 107.3 | 108.7 | 109.2 | 109.4 | 109.7 | 110.6 | 111 | 111 | 111.2 | 111.2 | 111 | 109.7 | 6.093%
2015 | 110,8 | 111,5 | 113,1 | 114,1 | 114,4 | 114,9 | 116,1 | 116,1 | [5 empty] | 110.8 | 111.5 | 113.1 | 114.1 | 114.4 | 114.9 | 116.1 | 116.1 | 116.1 | 116.3092 | 116.3092 | 116.1 | 114.6515 | 4.514%

## Sheet3
| 2015 | 2040 |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
-37.26% | 15474.4846 | 9709.0781 | ERSOLPCF-N | 2010: 35589.1445; 2012: 26683.8225; 2014: 17778.5005; 2015: 15474.4846; 2016: 13170.4687; 2018: 12859.7271; 2020: 12548.9855; 2025: 11697.2236; 2030: 10845.4616; 2040: 9709.0781
-37.26% | 17021.933 | 10679.9859 | ERSOLPCT-N | 2010: 39148.0589; 2012: 29352.2047; 2014: 19556.3505; 2015: 17021.933; 2016: 14487.5155; 2018: 14145.6998; 2020: 13803.8841; 2025: 12866.9459; 2030: 11930.0077; 2040: 10679.9859
-37.24% | 18089.9312 | 11353.7935 | ERSOLPRC-N | 2010: 41712.2674; 2012: 31259.0354; 2014: 20805.8033; 2015: 18089.9312; 2016: 15374.059; 2018: 14963.8024; 2020: 14553.5458; 2025: 13587.467; 2030: 12621.3883; 2040: 11353.7935
-37.24% | 21916.6473 | 13755.5575 | ERSOLPRR-N | 2010: 50536.0163; 2012: 37871.5236; 2014: 25207.0309; 2015: 21916.6473; 2016: 18626.2638; 2018: 18129.2221; 2020: 17632.1804; 2025: 16461.7389; 2030: 15291.2973; 2040: 13755.5575
-24.8% | 33498.8582 | 25189.8831 | ERSOLTC03-N | 2010: 38784.2634; 2012: 36600.2095; 2014: 34416.1555; 2015: 33498.8582; 2016: 32581.5609; 2018: 31096.4256; 2020: 29611.2903; 2025: 28284.4669; 2030: 26957.6434; 2040: 25189.8831
-24.8% | 39996.8005 | 30076.0916 | ERSOLTC06-N | 2010: 46307.4423; 2012: 43699.7365; 2014: 41092.0306; 2015: 39996.8005; 2016: 38901.5705; 2018: 37128.356; 2020: 35355.1415; 2025: 33770.9474; 2030: 32186.7533; 2040: 30076.0916
-24.8% | 46003.5416 | 34592.9352 | ERSOLTC09-N | 2010: 53261.9189; 2012: 50262.5864; 2014: 47263.2539; 2015: 46003.5416; 2016: 44743.8292; 2018: 42704.3124; 2020: 40664.7957; 2025: 38842.6864; 2030: 37020.5772; 2040: 34592.9352
-24.8% | 49559.3708 | 37266.7853 | ERSOLTC12-N | 2010: 57378.7822; 2012: 54147.6172; 2014: 50916.4522; 2015: 49559.3708; 2016: 48202.2895; 2018: 46005.1289; 2020: 43807.9683; 2025: 41845.0197; 2030: 39882.0711; 2040: 37266.7853
-24.8% | 51051.5492 | 38388.8473 | ERSOLTC14-N | 2010: 59106.3945; 2012: 55777.9427; 2014: 52449.4908; 2015: 51051.5492; 2016: 49653.6076; 2018: 47390.2929; 2020: 45126.9782; 2025: 43104.9274; 2030: 41082.8765; 2040: 38388.8473
-24.8% | 26441.0141 | 19882.6494 | ERSOLTT00-N | 2010: 30612.842; 2012: 28888.9444; 2014: 27165.0469; 2015: 26441.0141; 2016: 25716.9813; 2018: 24544.7479; 2020: 23372.5144; 2025: 22325.2381; 2030: 21277.9619; 2040: 19882.6494
-24.8% | 36049.3607 | 27107.7652 | ERSOLTT03-N | 2010: 41737.1808; 2012: 39386.8396; 2014: 37036.4983; 2015: 36049.3607; 2016: 35062.2232; 2018: 33464.0142; 2020: 31865.8051; 2025: 30437.9613; 2030: 29010.1174; 2040: 27107.7652
-24.8% | 45545.3247 | 34248.3734 | ERSOLTT06-N | 2010: 52731.4053; 2012: 49761.9475; 2014: 46792.4897; 2015: 45545.3247; 2016: 44298.1597; 2018: 42278.9575; 2020: 40259.7553; 2025: 38455.7951; 2030: 36651.8349; 2040: 34248.3734
-24.8% | 54536.7153 | 41009.5614 | ERSOLTT09-N | 2010: 63141.4455; 2012: 59585.7683; 2014: 56030.0911; 2015: 54536.7153; 2016: 53043.3396; 2018: 50625.5139; 2020: 48207.6882; 2025: 46047.5968; 2030: 43887.5054; 2040: 41009.5614
-1.05% | 13830.5857 | 13685.3275 | ERWNDH-N | 2010: 14852.8444; 2012: 13893.5018; 2014: 13849.5919; 2015: 13830.5857; 2016: 13811.5795; 2018: 13779.2971; 2020: 13763.0758; 2025: 13728.8357; 2030: 13707.0635; 2040: 13685.3275
-1.05% | 13830.5857 | 13685.3275 | ERWNDM-N | 2010: 14852.8444; 2012: 13893.5018; 2014: 13849.5919; 2015: 13830.5857; 2016: 13811.5795; 2018: 13779.2971; 2020: 13763.0758; 2025: 13728.8357; 2030: 13707.0635; 2040: 13685.3275
0% | 23220.2166 | 23220.2166 | ETCLDFB-N | 2010: 23220.2166; 2012: 23220.2166; 2014: 23220.2166; 2015: 23220.2166; 2016: 23220.2166; 2018: 23220.2166; 2020: 23220.2166; 2025: 23220.2166; 2030: 23220.2166; 2040: 23220.2166
-4.758% | 31097.3113 | 29617.7958 | ETCLEIG-N | 2010: 32502.4425; 2012: 31713.3574; 2014: 31235.4718; 2015: 31097.3113; 2016: 30959.1509; 2018: 30764.1923; 2020: 30525.0575; 2025: 29979.5385; 2030: 29798.0908; 2040: 29617.7958
0% | 23363.1769 | 23363.1769 | ETCLESC-N | 2010: 23363.1769; 2012: 23363.1769; 2014: 23363.1769; 2015: 23363.1769; 2016: 23363.1769; 2018: 23363.1769; 2020: 23363.1769; 2025: 23363.1769; 2030: 23363.1769; 2040: 23363.1769
0% | 20256 | 20256 | ETCRBSCBO-I | 2010: 20256; 2012: 20256; 2014: 20256; 2015: 20256; 2016: 20256; 2018: 20256; 2020: 20256; 2025: 20256; 2030: 20256; 2040: 20256
0% | 17280 | 17280 | ETCRBSCMO-I | 2010: 17280; 2012: 17280; 2014: 17280; 2015: 17280; 2016: 17280; 2018: 17280; 2020: 17280; 2025: 17280; 2030: 17280; 2040: 17280
0% | 6359.7473 | 6359.7473 | ETGASCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 6359.7473 | 6359.7473 | ETGASCCSS-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGASGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 6359.7473 | 6359.7473 | ETGICCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGICGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 6359.7473 | 6359.7473 | ETGIHCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGIHGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 17554.8726 | 17554.8726 | ETGRMCC-N | 2010: 17554.8726; 2012: 17554.8726; 2014: 17554.8726; 2015: 17554.8726; 2016: 17554.8726; 2018: 17554.8726; 2020: 17554.8726; 2025: 17554.8726; 2030: 17554.8726; 2040: 17554.8726
0% | 6936 | 6936 | ETGRNCC-I | 2010: 6936; 2012: 6936; 2014: 6936; 2015: 6936; 2016: 6936; 2018: 6936; 2020: 6936; 2025: 6936; 2030: 6936; 2040: 6936
0% | 4325.5415 | 4325.5415 | ETODSGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
| 2015 | 2040
-45.32% | 15050.1978 | 8229.4782 | ERSOLPCF-N | 2010: 35589.1445; 2012: 26540.3192; 2014: 17491.494; 2015: 15050.1978; 2016: 12608.9016; 2018: 11892.5423; 2020: 11176.1829; 2025: 10161.1665; 2030: 9146.1501; 2040: 8229.4782
-45.32% | 16555.2176 | 9052.426 | ERSOLPCT-N | 2010: 39148.0589; 2012: 29194.3511; 2014: 19240.6434; 2015: 16555.2176; 2016: 13869.7918; 2018: 13081.7965; 2020: 12293.8012; 2025: 11177.2832; 2030: 10060.7652; 2040: 9052.426
-44.61% | 17605.8469 | 9751.9192 | ERSOLPRC-N | 2010: 41712.2674; 2012: 31092.0868; 2014: 20471.9063; 2015: 17605.8469; 2016: 14739.7875; 2018: 13895.7306; 2020: 13051.6737; 2025: 11914.7819; 2030: 10777.8901; 2040: 9751.9192
-44.61% | 21330.1606 | 11814.8252 | ERSOLPRR-N | 2010: 50536.0163; 2012: 37669.2591; 2014: 24802.5018; 2015: 21330.1606; 2016: 17857.8195; 2018: 16835.2121; 2020: 15812.6047; 2025: 14435.2165; 2030: 13057.8283; 2040: 11814.8252
-34.32% | 29948.9996 | 19670.4522 | ERSOLTC03-N | 2010: 38784.2634; 2012: 35067.6726; 2014: 31351.0817; 2015: 29948.9996; 2016: 28546.9176; 2018: 26655.1802; 2020: 24763.4427; 2025: 23220.7103; 2030: 21677.9779; 2040: 19670.4522
-34.32% | 35758.358 | 23486.0289 | ERSOLTC06-N | 2010: 46307.4423; 2012: 41869.9257; 2014: 37432.409; 2015: 35758.358; 2016: 34084.307; 2018: 31825.6198; 2020: 29566.9325; 2025: 27724.9485; 2030: 25882.9645; 2040: 23486.0289
-34.32% | 41128.5675 | 27013.1733 | ERSOLTC09-N | 2010: 53261.9189; 2012: 48157.9736; 2014: 43054.0283; 2015: 41128.5675; 2016: 39203.1066; 2018: 36605.2084; 2020: 34007.3103; 2025: 31888.6961; 2030: 29770.082; 2040: 27013.1733
-34.32% | 44307.5871 | 29101.1481 | ERSOLTC12-N | 2010: 57378.7822; 2012: 51880.3291; 2014: 46381.8759; 2015: 44307.5871; 2016: 42233.2984; 2018: 39434.5965; 2020: 36635.8947; 2025: 34353.5229; 2030: 32071.1511; 2040: 29101.1481
-34.32% | 45641.6401 | 29977.3518 | ERSOLTC14-N | 2010: 59106.3945; 2012: 53442.3889; 2014: 47778.3834; 2015: 45641.6401; 2016: 43504.8968; 2018: 40621.929; 2020: 37738.9613; 2025: 35387.8698; 2030: 33036.7784; 2040: 29977.3518
-34.32% | 23639.0721 | 15526.1024 | ERSOLTT00-N | 2010: 30612.842; 2012: 27679.2964; 2014: 24745.7507; 2015: 23639.0721; 2016: 22532.3934; 2018: 21039.2244; 2020: 19546.0554; 2025: 18328.3599; 2030: 17110.6643; 2040: 15526.1024
-34.32% | 32229.2266 | 21168.1014 | ERSOLTT03-N | 2010: 41737.1808; 2012: 37737.6199; 2014: 33738.059; 2015: 32229.2266; 2016: 30720.3942; 2018: 28684.6256; 2020: 26648.8569; 2025: 24988.6655; 2030: 23328.4741; 2040: 21168.1014
-34.32% | 40718.9077 | 26744.1095 | ERSOLTT06-N | 2010: 52731.4053; 2012: 47678.2976; 2014: 42625.19; 2015: 40718.9077; 2016: 38812.6253; 2018: 36240.6034; 2020: 33668.5816; 2025: 31571.0698; 2030: 29473.558; 2040: 26744.1095
-34.32% | 48757.4848 | 32023.8333 | ERSOLTT09-N | 2010: 63141.4455; 2012: 57090.7719; 2014: 51040.0984; 2015: 48757.4848; 2016: 46474.8711; 2018: 43395.0901; 2020: 40315.3092; 2025: 37803.7144; 2030: 35292.1195; 2040: 32023.8333
-10.06% | 13273.9906 | 11938.9589 | ERWNDH-N | 2010: 14852.8444; 2012: 13893.5018; 2014: 13457.5305; 2015: 13273.9906; 2016: 13090.4508; 2018: 12786.0935; 2020: 12635.9713; 2025: 12324.4163; 2030: 12130.08; 2040: 11938.9589
-10.06% | 13273.9906 | 11938.9589 | ERWNDM-N | 2010: 14852.8444; 2012: 13893.5018; 2014: 13457.5305; 2015: 13273.9906; 2016: 13090.4508; 2018: 12786.0935; 2020: 12635.9713; 2025: 12324.4163; 2030: 12130.08; 2040: 11938.9589
0% | 23220.2166 | 23220.2166 | ETCLDFB-N | 2010: 23220.2166; 2012: 23220.2166; 2014: 23220.2166; 2015: 23220.2166; 2016: 23220.2166; 2018: 23220.2166; 2020: 23220.2166; 2025: 23220.2166; 2030: 23220.2166; 2040: 23220.2166
-9.304% | 30489.6932 | 27652.8857 | ETCLEIG-N | 2010: 32502.4425; 2012: 31713.3574; 2014: 30761.2142; 2015: 30489.6932; 2016: 30218.1723; 2018: 29838.1885; 2020: 29375.2198; 2025: 28332.8122; 2030: 27990.6812; 2040: 27652.8857
0% | 23363.1769 | 23363.1769 | ETCLESC-N | 2010: 23363.1769; 2012: 23363.1769; 2014: 23363.1769; 2015: 23363.1769; 2016: 23363.1769; 2018: 23363.1769; 2020: 23363.1769; 2025: 23363.1769; 2030: 23363.1769; 2040: 23363.1769
0% | 20256 | 20256 | ETCRBSCBO-I | 2010: 20256; 2012: 20256; 2014: 20256; 2015: 20256; 2016: 20256; 2018: 20256; 2020: 20256; 2025: 20256; 2030: 20256; 2040: 20256
0% | 17280 | 17280 | ETCRBSCMO-I | 2010: 17280; 2012: 17280; 2014: 17280; 2015: 17280; 2016: 17280; 2018: 17280; 2020: 17280; 2025: 17280; 2030: 17280; 2040: 17280
0% | 6359.7473 | 6359.7473 | ETGASCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 6359.7473 | 6359.7473 | ETGASCCSS-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGASGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 6359.7473 | 6359.7473 | ETGICCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGICGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 6359.7473 | 6359.7473 | ETGIHCC-N | 2010: 6359.7473; 2012: 6359.7473; 2014: 6359.7473; 2015: 6359.7473; 2016: 6359.7473; 2018: 6359.7473; 2020: 6359.7473; 2025: 6359.7473; 2030: 6359.7473; 2040: 6359.7473
0% | 4325.5415 | 4325.5415 | ETGIHGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415
0% | 17554.8726 | 17554.8726 | ETGRMCC-N | 2010: 17554.8726; 2012: 17554.8726; 2014: 17554.8726; 2015: 17554.8726; 2016: 17554.8726; 2018: 17554.8726; 2020: 17554.8726; 2025: 17554.8726; 2030: 17554.8726; 2040: 17554.8726
0% | 6936 | 6936 | ETGRNCC-I | 2010: 6936; 2012: 6936; 2014: 6936; 2015: 6936; 2016: 6936; 2018: 6936; 2020: 6936; 2025: 6936; 2030: 6936; 2040: 6936
0% | 4325.5415 | 4325.5415 | ETODSGT-N | 2010: 4325.5415; 2012: 4325.5415; 2014: 4325.5415; 2015: 4325.5415; 2016: 4325.5415; 2018: 4325.5415; 2020: 4325.5415; 2025: 4325.5415; 2030: 4325.5415; 2040: 4325.5415

## RE
[14 empty] | 2012 | 2013 | 2014 | 2015 | 2016 | 2018 | 2020 | 2025 | 2030 | 2040 | 2050
PWR_OPTLEARN | NCAP_COST | 4 | REGION1 | - | ERSOLPCF-N | - | - | - | - | - | 0 | 35589.1445 |  | 26540.3192 |  | 17491.494 | 15050.1978 | 12608.9016 | 11892.5423 | 11176.1829 | 10161.1665 | 9146.1501 | 8229.4782 | 7312.8063
PWR_PESSLEARN | NCAP_COST | 4 | REGION1 | - | ERSOLPCF-N | - | - | - | - | - | 0 | 35589.1445 |  | 26683.8225 |  | 17778.5005 | 15474.4846 | 13170.4687 | 12859.7271 | 12548.9855 | 11697.2236 | 10845.4616 | 9709.0781 | 8572.6946
TCH_PWR | NCAP_COST | 4 | REGION1 | - | ERSOLPCF-N | - | - | - | - | - | 0 | 35589.1445 |  | 26635.1216 |  | 17681.0986 | 15328.2879 | 12975.4771 | 12518.257 | 12061.0369 | 11146.9956 | 10232.9544 | 9174.6506 | 8116.3468
28910
[12 empty] | 23214.2062 |  | 26092.0578 |  |  | 22276.0943 |  |  | 15916.1552 | 13567.87 | 11219.5848 | 10175.9025 | 9132.2202
[12 empty] | 1 | 0.91518 | 1 | [5 empty] | 0.61 |  | 0.43 | 0.39 | 0.35
[14 empty] | 1 | [5 empty] | 0.61 |  | 0.43 | 0.41 | 0.39
[20 empty] | 0.61 |  | 0.43
1.3
Comparison
[17 empty] | 2015 | 2020 | 2025 | 2030 | 2040 | 2050
[16 empty] | UNEP-Optimistic | 17165.3133 | 14529.0378 | 13209.5164 | 11889.9951 | 10698.3217 |  | 0.37675
[16 empty] | UNEP-mid | 17165.3133 | 15679.348 | 14491.0943 | 13302.8407 | 11927.0458 |  | 0.30517
[16 empty] | UNEP-Pessimistic | 17165.3133 | 16313.6812 | 15206.3907 | 14099.1001 | 12621.8015 |  | 0.26469
[16 empty] | IRPupdate | 28958.9226 | 20691.0018 | 17638.231 | 14585.4603
[16 empty] | IRP update restrained | 28958.9226 | 20691.0018 | 20691.0018 | 20691.0018
[16 empty] | REIPPP round 4 | 15000